## Slide 1: UDI Benefits for Health Care – LUC Work Group

## Slide 2: UDI Benefits for Health Care – LUC Work Group
UDI Benefits for Health Care Work Group
  Hospital Supply Chain
  Manufacturers
  Suppliers and Distributors
  Government
  Patient Advocates
Five Sub Groups for Five Processes
  Commodity Inventory co-leaders – Lena Cordie and Mike Nolan
  Specialty Inventory leader – Ricki Wilson
  EHR to Registry co-leaders – Joe Drozda and Sandi Michel
  Adverse Events co-leaders – Madris Tomes and Mike Tanner
  Product Recalls co-leaders – Jay Crowley and Pat Lupinetti

## Slide 3: Project Overview
Current Process Flows for a Typical Hospital
  Glossary
  Assumptions
  Current Process Flows for each process
    Current challenges and points of UDI impact
    Benefits and investments for HCOs
Health care Supply Chain and UDI Adoption
Future Process Flows for a Typical Hospital
  Glossary
  Assumptions
  Future Process Flows for each process
    Points of UDI Impact
    Benefits
“Parking Lot” Summary and Next Steps

## Slide 4: Current Process - Glossary
Health Care Organization: HCO
Electronic Health Record: EHR
  An Electronic Health Record (EHR) is an electronic version of a patient’s medical history, that is maintained by the provider over time, and may include all of the key administrative clinical data relevant to that person’s care under a particular provider, including demographics, progress notes, problems, and medication.
Enterprise Resource Planning: ERP
  Enterprise resource planning (ERP) is the integrated management of core business processes, often in real-time and mediated by software and technology. These business activities can include: product planning, purchase, production planning, manufacturing, or service delivery.
Electronic Data Interchange (EDI) Globally standardized transaction sets used for electronic business exchange.
Typical Health Care Organization (HCO): HCOs serving 80% of US population.
Medical device: All medical supplies meeting FDA Classification I, II, or III
  EXCEPTIONS: biomedical equipment, software.

## Slide 5: Future Process - Glossary
CIM – Clean Item Master (Future Entity) Item masters refreshed with UDI identifiers regularly updated by downloads from GUDID and overlaid with HCO pricing. Possible in future due to globally accessible unique device identifiers.
VIM – Virtual Item Master (Future Entity) A Clean Item Master (CIM) maintained by 3rd party entities for HCOs not maintaining their own. Function partially filled by business exchange organizations today (like GHX and First Databank).
3rd Party Submitters (Future Augmented Role) Agencies meeting FDA guidelines providing documentation for adverse events occurring in HCOs (like MedWatcher).
3rd Party Recall Management Organization (Future Augmented Role) Organizations providing timely recall information to HCOs (like ECRI and RASMAS).
HCO Medical Device Data Management Function (Future Entity) HCO Medical Device Data Management function that will assure device data quality entering the HCO from outside entities as well as device data moved within/between clinical and business HCO systems (like HCO Item Master Maintenance function today).

## Slide 6: Current Process - Common Assumptions
Work Flow Represents Activities in a Typical HCO
HCO Has Implemented an Electronic Health Record (EHR) System-Wide
HCO has Implemented an ERP System
No Interface Exists Between EHR and ERP
HCO Has No Consistent Bar Code Scanning System for Use with Medical Devices
HCO Uses Limited EDI Transaction Sets with Fewer Than 20 Vendors

## Slide 7: Future Process - Assumptions
HCO scanning of the UDI (both DI and PI).
HCO access to accurate and timely data from GUDID.
Interoperability between clinical and business systems within an HCO (including EHR and ERP systems).
HCO uses EDI for POs, Acknowledgement, Advanced Ship Notice (ASN) and Accounts Payable for 95% of business transactions involving medical devices.
Ongoing supplier and HCO commitment to system updates and training protocols.

## Slide 8: Health Care Supply Chain and UDI Adoption: A Changed Landscape
Before UDI Adoption:
Product location drives product information
After UDI Adoption:
Product information drives product location

## Slide 9: Health Care Supply Chain After UDI Adoption: Imagining Possible Scenarios
Internet of things: Now a global grid of uniquely identified and serialized things on their way to care providers and patients.
A.I.-bots act as network managers: Continuously monitor the grid and move supplies to meet flexing demand patterns. Occasionally the A.I.-Bots send a message a human has to investigate.
Factory demand is level loaded: Inventory levels in the grid are low. 3PL logistics sees short, full truck runs, and turnaround times at docks are like Nascar pit stops.
Researchers monitor EHRs: Looking for patterns in consumption to minimize patient risk. The occasional recall alerts clinicians and the inventory grid to insure immediate action.
Drug and implant manufacturers: Providing innovation needed for next-gen products. The lost-opportunity costs from non-realized R&D are invested into agile projects using the global teams.

## Slide 10: Inventory Management
Definition:
Inventory management work flow outlines how commodity data and physical products are ordered and consumed in an HCO.
Players:
HCO Purchasing Department
Distributors
Manufacturers
HCO Materials Management
HCO Clinical Departments
Commodity - Mostly Class l and non-implantable Class ll. These devices are considered "routine" in hospitals and usually bought in large quantities.

## Slide 12: Challenges and UDI Impact Points Inventory Management
Challenges
  HCO and supply partners use differing product identification schemes so orders and fulfillment are often inaccurate leading to excess inventory at many points along supply chain.
UDI Impact Points
  Use GUDID to inform HCO master file and orders.
  Scan production information (PI) during receiving.
  Scan UDI into EHR at point of use.

## Slide 14: Inventory Management - Future Process
UDI Impact Points
  CIM or VIM uses GUDID to inform HCO EDI purchase orders allowing standard product identification from Point of Use to manufacturing site. This clear electronic communication promotes manufacturing to fluctuate according to demand.
  ASN scanning marries specific production information (PI) to device information (DI) in receiving process.
  ERP to EHR interoperability brings complete UDI into HCO clinical systems available to match POU scanning.
  Scanning brings UDI into EHR at point of use.

## Slide 15: UDI Adoption – Inventory Management
Benefits
  Savings – $40-100 billion in health care each year - $16.36 million per hospital per year plus $2.5 million one time inventory reduction.
  Better outcomes – 50% reduction in medication error.
  Safer supply chain – Reduced out of date or obsolete products.
  Digital foundation – Higher quality data with increased visibility will lead to further health care improvement; mobile, personalized, collaborative.
Investments
  Training – Develop best practices – Standards and AIDC technology.
  Scanning hardware.
  IT infrastructure – Integration or upgrades of MMS / ERP / EHR.
  Cost per hospital – One time $1.2 million + $150,000 annual maintenance.
  Net – Positive - $24 million in first six years.
https://www.gs1.org/docs/healthcare/McKinsey_Healthcare_Report_Strength_in_Unity.pdf
http://www.mckinsey.com/industries/healthcare-systems-and-services/our-insights/strengthening-health-cares-supply-chain-a-five-step-plan

## Slide 16: Inventory Management Benefits of Future Process
  Savings (McKinsey, 2013)
  $40-100 billion in health care each year
  $16.36 million per hospital per year plus
  $2.5 million one time inventory reduction.
  Labor - HCO item master maintenance/receiving process
  Space - Smaller storage spaces all along supply chain
  Costs - Reduced handling and inventory expenses for suppliers
Safety
  HCO knowledge of products on site
  HCO knowledge of products used by patients

## Slide 17: Specialty Inventory – “Trunk” Stock
Definition:
Specialty Inventory Work Flow outlines how implants flow through an HCO. These items are only purchased when physician decides product is needed for a specific procedure. Initial identification of the item in the hospital most often occurs at point of use.
Players:
Patients
Physicians
Vendors
OR Materials
Case Manager
Scheduling
Nursing Staff
OR Billing
Specialty - Mostly Class lll and implantable Class ll. These devices are considered patient-specific and usually bought for a specific procedure.

## Slide 19: Challenges and UDI Impact Points Specialty Inventory
Challenges
  HCO has low visibility into exact products used in procedure areas so cannot:
    Capture all charges for products
    Assess product risks
    Respond well to product recalls
UDI Impact Points
  Scan product at point of use.
  Channel UDI information into ERP and EHR systems.
  Hold UDI in EHR for potential recalls.

## Slide 21: “Specialty” Inventory - Future Process
UDI Impact Points
  HCO sends case-based order for “special” procedure.
  Received case-based products received into HCO system (like all other orders).
  Received product:
    Opened but not used scanned as “waste”.
    Used in procedure is scanned into EHR.
    Not used in procedure or “wasted” is returned to supplier.
    Invoiced by supplier and paid as for all other orders.
  Supplier assisted cases remain as needed.

## Slide 22: UDI Adoption – Specialty Inventory
Benefits
  Scanning the UDI labeled device eliminates manual entry of device information into hospital system(s) and reduces manual entry errors.
  Efficiencies in scanning device information may improve charge capture.
  Connecting device information to patient via the EHR supports more effective communication of product recalls for devices implanted in that patient.
Investments
  Bar code scanning solution at point of use.

## Slide 23: “Specialty” Inventory Benefits of Future Process
Savings
  Reduced inventory locations and materials handling for suppliers.
  Reduced overall inventory held by suppliers.
Safety
  HCO knowledge of all products on site permitting timely response to product recalls.
  HCO knowledge of all products used by patients permitting timely response to product recalls.
  Use of EHR Patient Communications allows appropriate recall information to be shared with patients.

## Slide 24: EHR to Registry
Definition: The EHR to Registry Work Flow will demonstrate how product data currently moves from the site of care to the EHR and then to the product registry databases.
Players:
Cath Lab
Registry Staff
Physician
NCDR System

## Slide 26: Challenges and UDI Impact Points EHR to Registry
Challenges
  Manual data entry at site of care as well as into various registry records is error prone and very labor intensive for both HCOs and registries.
UDI Impact Points
  Scan products at point of care.
  Develop clinical system interoperability to pass UDI data to EHR and registries in lieu of manual entry.

## Slide 28: EHR to Registry - Future Process
UDI Impact Points
  Scanned products at point of care and system interoperability permit UDI to inform all clinical systems and registries.
  Scanning and interoperability saves five steps per case and about 200 minutes when compared to current process.
  When registries use GUDID as the master file update source, data from HCO can be easily matched both to registry files as well as to other HCO data gathered by the registry permitting timely product evaluation and reporting.

## Slide 29: UDI Adoption – EHR to Registry
Benefits
  Replacing manual typing with scanned data fed from the EHR directly into the Registries eliminates errors and ensures required fields are completed.
  Electronically feeding attributes from the GUDID into the registry ensures valuable analytics can be shared including cost, quality, and outcomes.
  Electronic capture of specific data lessens the burden on clinicians and gives them more time with patients.
Investments
  Invest in EHR software and scanners.

## Slide 30: EHR to Registry Benefits of Future Process
Savings
  Labor – about 200 minutes per case.
Safety
  More accurate HCO reporting to registry.
  Registry evaluation and reporting is timely and can be immediately integrated into HCO systems as “alerts” if necessary.

## Slide 31: Adverse Events
Definition:
The Adverse Event Work Flow describes a malfunction, injury, or death event possibly resulting from the use of a device that may be reportable to the FDA and/or other agencies.
Players:
HCO Procedure Area
HCO Risk Management
Patient EHR
Supplier
FDA
CDC, CMS, State Health Boards
Assumption: Explants included

## Slide 33: Challenges and UDI Impact Points Adverse Events
Challenges
  Manual data entry into multiple HCO systems as well as to various outside agencies is labor intensive and error prone probably leading to underreporting of adverse events.
UDI Impact Points
  Scan UDI at point of use with interface to HCO incident reporting system.
  Move UDI adverse event data electronically to outside agencies and suppliers.

## Slide 35: Adverse Events - Future Process
UDI Impact Points
  Scan UDI at point of use with interface to HCO incident reporting system and 3rd party submitter.
  3rd party submitter manages all communication between HCOs, suppliers, manufacturers, and FDA concerning adverse events involving medical devices.
  HCO risk management and supply chain will have timely access to adverse event information and comparative product information in the long run.
  HCO will pass event information to other government agencies as required using UDI.

## Slide 36: UDI Adoption – Adverse Events
Benefits
  UDI in the EHR, claim or incident reporting system provides reference for future events including explants and product recalls.
  UDI on adverse event reports helps FDA (& Mfr) identify device issues that may track to the lot, batch, or even serial number level.
  Malfunction that did not cause injury or death to a patient, but could in the future, should be sent to the FDA.
Investments
  Scanners and scanning at point of use (if patient involved).
  Incident reporting system and interface to EHR.

## Slide 37: Adverse Events Benefits of Future Process
Savings
  Labor savings for clinicians who currently report adverse events to many manufacturers and suppliers and will in future only report to a 3rd party submitter.
  Electronic HCO communications to risk management and supply chain will reduce reporting time.
Safety
  Manufacturers, suppliers, and FDA will get more timely and complete information from HCOs through 3rd party submitters and can respond accordingly.
  Timely reporting will result in more timely recalls.
  HCO risk management will have access to product evaluation information to assist with internal evaluation.

## Slide 38: Product Recalls
Definition:
Product Recalls Work Flow outlines actions within an HCO that take place in response to notifications from distributors, manufacturers, 3rd party recall services, or the FDA stating that a medical device must be recalled.
Players:
FDA/Distributors/3rd party recall services/manufacturers
HCO Purchasing Department
HCO Clinical Departments
HCO Materials Management Department
Patients

## Slide 40: Challenges and UDI Impact Points Product Recalls
Challenges
  Lack of master data file in HCO leads to suppliers and multiple HCO staff in many departments looking for recalled product without support in HCO systems. As a result, health care product recalls are relatively unsuccessful.
UDI Impact Points
  Master data file used to inform hospital ERP and EHR on all devices purchased, held, and used with specific patients.

## Slide 42: Product Recalls - Future Process
UDI Impact Points
  Use of CIM or VIM together with ASN gives HCO specific knowledge of all products purchased to exact internal locations.
  Interoperability of ERP to EHR gives HCO knowledge of all products used with patients.
  3rd party recall management organization provides timely recall information that HCO can match to all internal product data.
  HCO data management for medical devices is responsible to share internally to conduct recall.

## Slide 43: UDI Adoption – Product Recalls
Benefits
  Improves the ability to identify a specific recalled device within inventory management systems.
  Documentation of device use in EHRs, reimbursement, and other clinical information system allows connection to specific patients.
Investments
  Scanning capabilities at device acquisition and point of use/care.
  Updates to EHRs, clinical information, and inventory management systems to capture device logistics/use.

## Slide 44: Product Recalls Benefits of Future Process
Savings
  Labor now used “hunting” for recalled product will decline as recalls will be focused specifically on known purchases to exact locations within an HCO. Savings two days per recall for a typical hospital. (McKinsey, 2012)
Patient Safety
  Recalls along supply chain will be successful and recalled products will be unavailable to purchase and removed from all inventories.
  Recalls found in EHR allow HCO patient communication to patient record as necessary.

## Slide 45: Summary: Benefits and Investments of UDI Adoption
Benefits
  Reduced manual data entry = labor savings
  Improved data accuracy = better patient safety
  Better charge capture in procedure areas = more revenue
Investments
  Scanners
  Scanning knowledge in IT
  Master Data Management
  ERP and EHR adjustments to accommodate UDI
  System interoperability throughout HCO
  EDI – Full implementation for commercial transactions

## Slide 46: Summary
UDI will allow product information to replace current systems based upon physically viewing and handling products. Labor savings in HCOs will be comparable to grocery, retail, and manufacturing over the past 20 years.
Interoperability of business to clinical systems using UDI as the product identifier will promote broad-based timely research into product safety and effectiveness.

## Slide 47: Call to Action
3rd Party software suppliers need to incorporate UDI and health system interoperability into future plans for upgrades.
Front-end supply management systems (such as Par Excellence, Omnicell, Space-Trax, etc.) need to incorporate UDI into all functions requiring product identification.

## Slide 48: Parking Lot
Better Understanding of and Guidelines for:
  Clean Item Master
  Virtual Item Master
  HCO Data Management for Medical Devices
Involve Registries to refine Definition of Future Process.
Develop current/future process for UDI and Equipment.
Involve HCO Risk Management to refine Adverse Events.
Better Understanding and Guidelines for Expanded Role:
  3rd party submitters
  3rd party recalls managers

## Slide 49: Next Steps
Final narrative of ROI for UDI.
Development of an Executive Summary.
Development of educational materials for AHRMM to communicate to supply chain leaders.